## Sheet1
Name | Enum
Alarm delay - Normal conditions
Alarm delay - pulldown/startup/def
High temp alarm
Low temp alarm
DI1 delay
DI2 delay
Condenser High temp alarm
Condenser High block limit
Voltage protection | 0:No,1:Yes
Min cut-in voltage
Min cut-out voltage
Max voltage
Compressor min ON time
Compressor min OFF time
Comp OFF delay at open door
Zero crossing | 0:No,1:yes
Main switch | 0:Service,1:Off,2:On
Predefined applications | 0:App0,1:App1,2:App2,3:App3,4:App4,5:App5,6:App6
Sensor type | 0:n5,1:n10,2:pt1,3:ptc
DO4 config | 0:ALA,1:Lig
Temperature Setpoint
Differential
Min set point limit
Max set point limit
Display offset
Display Unit | 0:°C,1:°F
Calibration of Sair
Night Set back
Offset reference displacement
Pull down duration
Pull down temp limit
Defrost Method | 0:None,1:Natural,2:Electric,3:Hotgas
Defrost stop temperature
Defrost Interval
Max defrost Time
Defrost delay at power up
Drip delay
Fan delay after defrost
Fan start temp after defrost
Fan ON during defrost | 0:Off,1:On
Defrost stop sensor | 0:None,1:Sair temp Sensor,2:S5 Defrost sensor
Comp accumulated runtime
Defrost on demand
Defrost delay after pulldown
Fan at compressor cutout | 0:FFC,1:FAo,2:FPL
Fan stop evaporator temp
Fan ON time
Fan OFF time
Delay of outputs at startup
DI1 configuration | 0:Off,1:Sdc,2:doo,3:doA,4:SCH,5:nig,6:rFd,7:EAL,8:dEF,9:Pud,10:Sc
Serial address
Password
Cooling/Heating | 0:Cooling,1:Heating
Display Resolution | 0:0.1,1:0.5,2:1
Relay 1 counter
Relay 2 counter
Relay 3 counter
Relay 4 counter
DI2 configuration | 0:Off,1:Sdc,2:doo,3:doA,4:SCH,5:nig,6:rFd,7:EAL,8:dEF,9:Pud,10:Sc
Light Control | 0:ON,1:dAn,2:doo
Save settings as factory | 0:No,1:yes
Display during defrost | 0:Air,1:FrE,2:-d-
DI1 polarity | 0:nc,1:no
DI2 polarity | 0:nc,1:no
Invert alarm relay | 0:Normal,1:Invert relay action
Keyboard lock | 0:No,1:yes
Controller status | 0:S25,1:S32,2:S10,3:S30,4:S14,5:S4,6:S17,7:S15,8:S2,9:S3,10:S20,11:s0,12:S20
Air temperature (Sair)
Present regulation reference
Evaporator temperature (S5)
DI1 status | 0:Off,1:On
Night mode | 0:Off,1:On
DI2 status | 0:Off,1:On
Condenser temperature (Sc)
Compressor relay status | 0:Off,1:On
Fan relay status | 0:Off,1:On
Defrost relay status | 0:Off,1:On
Light relay status | 0:Off,1:On
Firmware version
Database version
Order No Low
Defrost Method | 0:None,1:Natural
Defrost Stop Sensor | 0:None,1:Sair temp Sensor
Predefined applications | 0:App0,1:App1,2:App2,3:App3,4:App4,5:App5
DO2 Config | 0:def,1:ALA
Air temperature sensor(Sair) error
Defrost sensor (S5) error
Condensor sensor(Sc) error
High temperature alarm
Low temperature alarm
High voltage alarm
Low voltage alarm
High condenser temperature alarm
Door alarm
DI external alarm
High temperature alarm
Low temperature alarm
High voltage alarm
Low voltage alarm
High condenser temperature alarm
Door alarm
DI external alarm
Sensor 2 Error